Metropolitan Branch Trail Design Build, South Segment

DC CONTRACT NO. DCKA-2016-C-0044

FAP No.: STP-2016 (060)

CONSTRUCTION MANAGER’S

WEEKLY PROGRESS REPORT

05/17/2020 – 05/23/2020

Project Website: www.metbranchtrail-forttotten.com

For Additional Trail Information Please see www.metbranchtrail.com

Proposed Metropolitan Branch Trail

1.  PROJECT DESCRIPTION

The planned Metropolitan Branch Trail Project (“the Project”) consists of the design and construction of a new trail adjacent to CSX tracks and WMATA Red Line tracks along John McCormack Drive, adjacent to Fort Totten Metro Station, and on NPS property in NE, Washington D.C.  The trail begins approximately 1500 feet south of Bates Road NE on the east side of John McCormack Drive NE, extending north along the WMATA and CSX tracks to the Fort Totten Metro Station tie in with First Place NE.  An existing trail connection from Gallatin Road NE to the Fort Totten Metro Station will be reconstructed as a part of the Project.

The Project is 83.15% Federally-Funded and 16.85% District-Funded. Potomac Construction is the Design Build contractor.

Delon Hampton and Associates Chartered is providing Construction Management and Inspection services.   Specific Construction Scope of Work includes:

- Provide mobilization and demobilization, provision and maintenance of Engineer’s field facilities, field layout, employee training, and other incidental work required for a quality, complete and finished product;

- Establishment and maintenance of vehicular and pedestrian traffic including signs, barricades and other transition devices; reconfiguring the devices in conjunction with changes in work areas; and their removal and disposal upon project completion, including restoration of disturbed areas;

- Clearing and grubbing, as required within the LOD;

- Removal of unsuitable material, excavation, and backfilling and pervious paving to construct a new trail;

- Protection of trees during construction;

- Provide ADA compliant trail connections and pedestrian ramps;

- Provide retaining walls as necessary to stay within the LOD and minimize property impacts following visual requirements specified for retaining walls on NPS property;

- Provide new permanent regulatory and wayfinding signs for the trail and all trail connection intersections;

- Provide road and trail pavement markings;

- Provide landscaping within the LOD for the Project including special requirements for landscaping on NPS property;

- Provide erosion and sediment control measures, storm water management facilities, including pervious asphalt pavement and bioretention facilities;

- Provide utility coordination, identification, locating, and protection of all utilities encountered during design and construction including relocation of Pepco poles along Aggregate Industries property; and

- Provide new WMATA security fencing between the trail and CSXT tracks.

- Remove existing sidewalk and widen sidewalk to 10’ along the west side of 1st place NE from Metropolitan Branch Trail to entrance to WMATA bus loop, on the west side.

2.  STATUS OF CONSTRUCTION / PROGRESS SUMMARY

Work performed this week:

Design

- Phase D 3-ring binder for 100% Plans

- WMATAs acceptance for Phase D Final Design Plans

- Phase D Emergency Action Plans

- Railing Design Submittal to WMATA and DDOT

- WMATA / DDOT Notification Plan for Phase D Construction Activities

Construction:

Phase B

- Excavated and fine graded the ditch line along the South side of the trail

- Watered the seeded area

- Placed and graded topsoil along the South side of the trail

- Installed erosion control matting

- Demobilized from the existing staging area.

- Constructed and moved materials to new staging area

Phase D

- Performed clearing and grubbing

- Performed rough grading

- Performed tree removal

CM Consultant:

- Monitored construction progress, make sure all applicable inspection and testing were performed

- Attended DDOT and Aggregate Industries meeting held at Aggregate Industries property

- Attended DDOT and QA Meeting Conference Call

- Attended QA/QC Meeting Conference Call

- Reviewed Inspection Daily Reports

- Updated Project Files

- Updating documents in SharePoint

- Reviewed and finalized Pay Estimate No. 16.

- Communication with the stakeholder in terms of submittals

3.  MEETINGS / PROJECT COORDINATION

Mon.	05/18/20	DDOT QA and DDOT Material Division Meeting conference call was

held at 10:30 A.M.

Wed. 	05/20/20	DDOT DHA Aggregate Industries meeting at Aggregate Industries

property was held at 8:00 A.M.

Thurs.	05/21/22	DDOT DHA and QA conference call meeting was held at 10:30A.M

Fri.	05/22/20	QA/QC Meeting conference call was held at 10:00 A.M.

4.  DAILY WORK PERFORMED

Sun	05/17/20	No work performed

Mon	05/18/20	Phase B - Excavated and fine graded the ditch line along the South side

of the trail. Placed topsoil at the existing staging area. Watered the landscape.  Cleaned site and hauled away unsuitable soil from the site.

Phase B - Electrical Phase - No work performed

Phase D - No work performed.

Tue	05/19/20	Phase B - Excavated and fine graded the ditch line along the South side

of the trail. Placed topsoil at the existing staging area. Watered the landscape.  Cleaned site and hauled away unsuitable soil from the site.

Phase B – Electrical Work – No work performed

Phase D – No work performed.

Wed	05/20/20	Phase B - Placed and seeded topsoil. Installed erosion control matting

at the ditch on the South side of the trail. Demobilized from the existing

staging area constructed new staging area.

Phase B - Electrical Work - No work performed

Phase D – No work performed.

Thurs	05/21/20	Phase B - Excavated and fine graded the ditch line along the South side

of the trail. Installed erosion control matting at the ditch line along the South side of the trail.  Cleaned the site and hauled away the unsuitable soil from the site.

Phase B - Electrical Work – No work performed

Phase D - Performed clearing and grubbing, tree removal and rough grading.

Fri	05/22/20	Phase B - Work cancelled due to rain.

Phase B - Electrical Work – No work performed

Phase D - Work cancelled due to rain.

Sat	05/23/20	No work scheduled

5.  INSPECTION & MATERIAL TESTS PERFORMED

| Jobsite Safety Inspection Erosion and Sediment Control inspection MOT Inspection Compaction Test Asphalt Material Testing Concrete Material Testing | Infiltration facility Material Testing |
| --- | --- |

6.  DBE PARTICIPATION SUMMARIES

Potomac Construction (Contractor)

- DBE Goal for Contractor is 15%.  To-date the Contractor has achieved 36% of their goal.

Delon Hampton & Associates (CM)

- DBE Goal for the CM is 10%. To-date the CM has achieved 0% of their Goal.

7.  ACCIDENTS / INCIDENTS

None occurred on-site.

8. PHOTOS OF THE WORK PERFORMED

12.  PHOTOS OF WORK PERFORMED THIS PERIOD

Phase B – Crew grading the slope area along the South side of the trail

Phase B – Crew applying topsoil at the ditch line along the South side of the trail

Phase B - Crew hauling out unsuitable soil

Phase B – Crew excavating the ditch line along the South side of the trail

Phase B – Crew installing erosion control matting at the ditch line

Phase B – Crew attending safety briefing

Phase D – No work performed

Phase D – No work performed

Phase D – Crew cutting tree

Phase D – Crew cutting tree