Metropolitan Branch Trail Design Build, South Segment

DC CONTRACT NO. DCKA-2016-C-0044

FAP No.: STP-2016 (060)

CONSTRUCTION MANAGER’S

WEEKLY PROGRESS REPORT

05/30/2021 – 06/05/2021

Project Website: www.metbranchtrail-forttotten.com

For Additional Trail Information Please see www.metbranchtrail.com

Proposed Metropolitan Branch Trail

1.  PROJECT DESCRIPTION

The planned Metropolitan Branch Trail Project (“the Project”) consists of the design and construction of a new trail adjacent to CSX tracks and WMATA Red Line tracks along John McCormack Drive, adjacent to Fort Totten Metro Station, and on NPS property in NE, Washington D.C.  The trail begins approximately 1500 feet south of Bates Road NE on the east side of John McCormack Drive NE, extending north along the WMATA and CSX tracks to the Fort Totten Metro Station tie in with First Place NE.  An existing trail connection from Gallatin Road NE to the Fort Totten Metro Station will be reconstructed as a part of the Project.

The Project is 83.15% Federally-Funded and 16.85% District-Funded. Potomac Construction is the Design Build contractor.

Delon Hampton and Associates Chartered is providing Construction Management and Inspection services.   Specific Construction Scope of Work includes:

- Provide mobilization and demobilization, provision and maintenance of Engineer’s field facilities, field layout, employee training, and other incidental work required for a quality, complete and finished product;

- Establishment and maintenance of vehicular and pedestrian traffic including signs, barricades and other transition devices; reconfiguring the devices in conjunction with changes in work areas; and their removal and disposal upon project completion, including restoration of disturbed areas;

- Clearing and grubbing, as required within the LOD;

- Removal of unsuitable material, excavation, and backfilling and pervious paving to construct a new trail;

- Protection of trees during construction;

- Provide ADA compliant trail connections and pedestrian ramps;

- Provide retaining walls as necessary to stay within the LOD and minimize property impacts following visual requirements specified for retaining walls on NPS property;

- Provide new permanent regulatory and wayfinding signs for the trail and all trail connection intersections;

- Provide road and trail pavement markings;

- Provide landscaping within the LOD for the Project including special requirements for landscaping on NPS property;

- Provide erosion and sediment control measures, storm water management facilities, including pervious asphalt pavement and bioretention facilities;

- Provide utility coordination, identification, locating, and protection of all utilities encountered during design and construction including relocation of Pepco poles along Aggregate Industries property; and

- Provide new WMATA security fencing between the trail and CSXT tracks.

- Remove existing sidewalk and widen sidewalk to 10’ along the west side of 1st place NE from Metropolitan Branch Trail to entrance to WMATA bus loop, on the west side.

2.  STATUS OF CONSTRUCTION / PROGRESS SUMMARY

Work performed this week:

Design

- 100 % Complete

Construction:

Phase D

- Constructed retaining wall S0 footing formwork

- Installed retaining wall S0 footing rebars

- Installed south side curb formwork

- Place concrete for south side curb

- Backfilled behind north side curb

- Shaft drilled light poles foundation

- Installed rebars and anchor bolts for light poles foundation

- Placed concrete for light pole foundation

- CSX flagger’s operation and safety tool box talk

CM Consultant:

- Monitored construction progress, make sure all applicable inspections and testing were performed

- Reviewed PCCI Monthly Payment Invoice

- Reviewed CSX Monthly Invoice

- Prepared on Change Order package

- Prepared CM Weekly Report to post

- Prepared CM weekly report to DDOT

- Attended field meeting with NPS and Contractor

- Monitored QC field testing

- Updated Project Files

- Updated Project Logs

- Updated Project Webpage

- Updated documents in DHA SharePoint site

- Updated DDOT Sharepoint site

- Communication with PCCI in terms of submittals

3.  MEETINGS / PROJECT COORDINATION

Thurs 06/03/20	NPS DDOT DHA PCCI field meeting was held at Phase B 9:00 A.M.

4.  DAILY WORK PERFORMED

Sun	05/30/21	No work performed.

Mon	05/31/21	Phase D – Memorial Day Holiday

Tue	06/01/21	Phase D –Installed retaining wall S0 footing rebars.  Placed concrete for south side curb.

Phase D – Electrical Work – Shaft drilled light poles foundation.

Wed	06/02/21	Phase D – Installed retaining wall S0 footing rebars. Backfilled behind north side curb. Excavated drainage trench for manhole.

Phase D – Electrical Work – Installed rebars and concrete forms for light pole foundation.

Thurs	06/03/21	Phase D – Construct retaining wall S0 footing formwork. Installed retaining

wall S0 rebars. Excavated trench for drainage manhole. Placed bedding stone for manhole base.

Phase D – Electrical Work – Placed concrete for light pole foundation.

Fri	06/04/21	Phase D – Installed rebars for retaining wall S0 footing rebars.				Installed formwork for south side curb. Constructed drainage manhole.

Phase D – Electrical Work – Placed light pole foundation concrete.

Sat	06/05/21		Phase D – No work scheduled

5.  INSPECTION & MATERIAL TESTS PERFORMED

| Jobsite Safety Inspection Erosion and Sediment Control inspection MOT Inspection Compaction Test - Passed Asphalt Material Testing Concrete Material Testing – Pending results ** Note - Additional Material Test Results can be found on DDOT QA QC Material Division Tracking SharePoint website. | Infiltration Tests Dynamic Cone Penetration (DCP) Tests - Passed Rebars Inspection - Ongoing |
| --- | --- |

6.  DBE PARTICIPATION SUMMARIES

Potomac Construction (Contractor)

- DBE Goal for Contractor is 15%.  To-date the Contractor has achieved 49.4% of their goal.

Delon Hampton & Associates (CM)

- DBE Goal for the CM is 10%. To-date the CM has achieved 82.7% of their Goal.

7.  ACCIDENTS / INCIDENTS

None occurred on-site during this week.

8. PHOTOS OF THE WORK PERFORMED

12.  PHOTOS OF WORK PERFORMED THIS PERIOD

Phase D – Crew placing concrete for the south side curb

Phase D – Crew installing retaining wall S0 footing rebars

Phase D – Crew shaft drilling light pole foundation

Phase D – Crew setting light pole foundation forms

Phase D – Crew constructing retaining wall S0 footing

Phase D – Crew excavating manhole trench

Phase D – Crew placing light pole foundation concrete